## GLH-HDE-8-HPS1000
IesVersion | IESNA:LM-63-1995
[TEST]
[ISSUEDATE] | 2015-06-03 12:45
[MANUFAC] | Barron Lighting Group
[LUMCAT] | GLH-HDE-8-HPS1000
[LUMINAIRE] | Formed aluminum housing, fine hammertone reflector
[LAMPCAT]
[LAMP] | Growlite brand HPS 1000W (Red Box) Lamp. LUMEN RATING = 118000 LMS
[TESTLAB]
[TESTINST] | GPM-1800B
[TESTDIST] | 6.605 m
[MORE] | 218.7 VOLTAGE
[MORE] | 4.795 A CURRENT
[MORE] | 1.000 POWER FACTOR
[MORE] | LUMENS 118745
TILT=NONE
numOfLamps | 1
lumensPerLamp | 118744.6
multiplier | 1
numberOfVerticalAngles | 91
numberOfHorizontalAngles | 13
photometricType | 1
unitsType | 2
width | 0
length | 0
height | 0
ballastFactor | 1
futureUse | 1
inputWatts | 1053
verticalAnglesArray | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90
horizontalAnglesArray | 0 | 30 | 60 | 90 | 120 | 150 | 180 | 210 | 240 | 270 | 300 | 330 | 360
candelaValuesTable
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90
0 | 26061.75 | 25870.27 | 25929.16 | 25979.631 | 26235.83 | 26375.01 | 26714.57 | 27067.881 | 27538.211 | 27994.77 | 28491.869 | 28971.369 | 29508.23 | 29999.971 | 30380.82 | 30773.141 | 31100.461 | 31325.301 | 31534.08 | 31579.199 | 31721.439 | 31816.27 | 31848.391 | 31752.801 | 31167.76 | 30572.01 | 30054.27 | 29496 | 29044.02 | 28716.711 | 28530.1 | 28495.689 | 28510.99 | 28684.59 | 28854.359 | 29080.73 | 29331.57 | 29486.051 | 29441.699 | 29521.23 | 29450.869 | 29592.35 | 29685.66 | 29742.25 | 29950.26 | 30006.09 | 30037.439 | 30032.09 | 30019.09 | 30090.98 | 29976.26 | 29452.4 | 29079.971 | 28772.529 | 28758.77 | 28693.76 | 28858.189 | 29005.779 | 29104.439 | 29198.5 | 29187.801 | 28451.33 | 27774.52 | 27082.42 | 26384.189 | 25637.789 | 24914.32 | 24122.801 | 23411.57 | 22686.58 | 21886.641 | 21516.5 | 21117.289 | 20731.859 | 20271.471 | 19969.391 | 19797.32 | 19573.25 | 19397.35 | 19262.75 | 19206.93 | 19099.859 | 19097.57 | 19060.859 | 18644.061 | 17953.49 | 17131.369 | 16424.73 | 16157.07 | 15607.2 | 15533.02
30 | 26061.75 | 26356.66 | 26376.539 | 26391.84 | 26536.381 | 26687.029 | 26898.109 | 27201.721 | 27532.09 | 27951.18 | 28403.92 | 28781.711 | 29203.859 | 29645.891 | 30141.449 | 30549.83 | 30857.27 | 31163.93 | 31449.189 | 31598.32 | 31686.27 | 31741.33 | 31776.51 | 31810.16 | 31837.689 | 31786.449 | 31564.67 | 31157.82 | 30673.721 | 30179.689 | 29539.59 | 28971.369 | 28587.461 | 28228.02 | 27994.01 | 27907.59 | 27750.811 | 27769.17 | 27759.99 | 27753.869 | 27676.631 | 27642.221 | 27540.51 | 27392.91 | 27139.01 | 27023.529 | 26896.58 | 26820.869 | 26732.16 | 26610.561 | 26509.609 | 26416.311 | 26267.949 | 26124.939 | 25971.99 | 25659.961 | 25220.99 | 24980.859 | 24778.961 | 24529.65 | 24327.75 | 24174.039 | 23965.26 | 23657.82 | 23343.51 | 22826.529 | 22344.73 | 21865.99 | 21342.9 | 20827.449 | 20338 | 19723.141 | 19304.811 | 18963.73 | 18642.529 | 18305.27 | 18140.85 | 17932.07 | 17860.18 | 17752.35 | 17620.82 | 17502.279 | 17346.27 | 17055.66 | 16863.699 | 16617.449 | 16148.65 | 15689.03 | 15435.13 | 15326.54 | 15281.42
60 | 26061.75 | 26612.85 | 26611.32 | 26632.74 | 26660.27 | 26694.68 | 26740.57 | 26748.221 | 26898.869 | 26913.4 | 27025.061 | 27142.07 | 27245.311 | 27399.029 | 27571.859 | 27759.23 | 27903 | 28013.891 | 28086.539 | 28152.311 | 28166.84 | 28209.67 | 28200.49 | 28110.25 | 28011.6 | 27886.939 | 27680.461 | 27469.381 | 27186.42 | 26884.34 | 26479.02 | 26084.4 | 25626.311 | 25172.811 | 24738.43 | 24341.52 | 23940.02 | 23521.699 | 23108.73 | 22667.461 | 22196.369 | 21814.75 | 21336.779 | 20903.16 | 20486.369 | 20069.57 | 19681.84 | 19275.75 | 18930.08 | 18602 | 18260.15 | 17932.84 | 17639.17 | 17356.211 | 17106.9 | 16871.35 | 16628.92 | 16449.971 | 16236.6 | 16050.76 | 15917.7 | 15787.69 | 15640.09 | 15484.08 | 15373.95 | 15213.35 | 15082.58 | 14895.21 | 14671.9 | 14415.71 | 14094.51 | 13816.14 | 13530.88 | 13214.27 | 12882.37 | 12500.75 | 12106.14 | 11661.05 | 11206.78 | 10677.57 | 10188.89 | 9743.03 | 9239.06 | 8722.84 | 8237.99 | 7842.6 | 7554.29 | 7365.4 | 7237.68 | 7101.55 | 6976.13
90 | 26061.75 | 25870.27 | 25929.16 | 25979.631 | 26235.83 | 26375.01 | 26714.57 | 27067.881 | 27538.211 | 27994.77 | 28491.869 | 28971.369 | 29508.23 | 29999.971 | 30380.82 | 30773.141 | 31100.461 | 31325.301 | 31534.08 | 31579.199 | 31721.439 | 31816.27 | 31848.391 | 31752.801 | 31167.76 | 30572.01 | 30054.27 | 29496 | 29044.02 | 28716.711 | 28530.1 | 28495.689 | 28510.99 | 28684.59 | 28854.359 | 29080.73 | 29331.57 | 29486.051 | 29441.699 | 29521.23 | 29450.869 | 29592.35 | 29685.66 | 29742.25 | 29950.26 | 30006.09 | 30037.439 | 30032.09 | 30019.09 | 30090.98 | 29976.26 | 29452.4 | 29079.971 | 28772.529 | 28758.77 | 28693.76 | 28858.189 | 29005.779 | 29104.439 | 29198.5 | 29187.801 | 28451.33 | 27774.52 | 27082.42 | 26384.189 | 25637.789 | 24914.32 | 24122.801 | 23411.57 | 22686.58 | 21886.641 | 21516.5 | 21117.289 | 20731.859 | 20271.471 | 19969.391 | 19797.32 | 19573.25 | 19397.35 | 19262.75 | 19206.93 | 19099.859 | 19097.57 | 19060.859 | 18644.061 | 17953.49 | 17131.369 | 16424.73 | 16157.07 | 15607.2 | 15533.02
120 | 26061.75 | 26356.66 | 26376.539 | 26391.84 | 26536.381 | 26687.029 | 26898.109 | 27201.721 | 27532.09 | 27951.18 | 28403.92 | 28781.711 | 29203.859 | 29645.891 | 30141.449 | 30549.83 | 30857.27 | 31163.93 | 31449.189 | 31598.32 | 31686.27 | 31741.33 | 31776.51 | 31810.16 | 31837.689 | 31786.449 | 31564.67 | 31157.82 | 30673.721 | 30179.689 | 29539.59 | 28971.369 | 28587.461 | 28228.02 | 27994.01 | 27907.59 | 27750.811 | 27769.17 | 27759.99 | 27753.869 | 27676.631 | 27642.221 | 27540.51 | 27392.91 | 27139.01 | 27023.529 | 26896.58 | 26820.869 | 26732.16 | 26610.561 | 26509.609 | 26416.311 | 26267.949 | 26124.939 | 25971.99 | 25659.961 | 25220.99 | 24980.859 | 24778.961 | 24529.65 | 24327.75 | 24174.039 | 23965.26 | 23657.82 | 23343.51 | 22826.529 | 22344.73 | 21865.99 | 21342.9 | 20827.449 | 20338 | 19723.141 | 19304.811 | 18963.73 | 18642.529 | 18305.27 | 18140.85 | 17932.07 | 17860.18 | 17752.35 | 17620.82 | 17502.279 | 17346.27 | 17055.66 | 16863.699 | 16617.449 | 16148.65 | 15689.03 | 15435.13 | 15326.54 | 15281.42
150 | 26061.75 | 26612.85 | 26611.32 | 26632.74 | 26660.27 | 26694.68 | 26740.57 | 26748.221 | 26898.869 | 26913.4 | 27025.061 | 27142.07 | 27245.311 | 27399.029 | 27571.859 | 27759.23 | 27903 | 28013.891 | 28086.539 | 28152.311 | 28166.84 | 28209.67 | 28200.49 | 28110.25 | 28011.6 | 27886.939 | 27680.461 | 27469.381 | 27186.42 | 26884.34 | 26479.02 | 26084.4 | 25626.311 | 25172.811 | 24738.43 | 24341.52 | 23940.02 | 23521.699 | 23108.73 | 22667.461 | 22196.369 | 21814.75 | 21336.779 | 20903.16 | 20486.369 | 20069.57 | 19681.84 | 19275.75 | 18930.08 | 18602 | 18260.15 | 17932.84 | 17639.17 | 17356.211 | 17106.9 | 16871.35 | 16628.92 | 16449.971 | 16236.6 | 16050.76 | 15917.7 | 15787.69 | 15640.09 | 15484.08 | 15373.95 | 15213.35 | 15082.58 | 14895.21 | 14671.9 | 14415.71 | 14094.51 | 13816.14 | 13530.88 | 13214.27 | 12882.37 | 12500.75 | 12106.14 | 11661.05 | 11206.78 | 10677.57 | 10188.89 | 9743.03 | 9239.06 | 8722.84 | 8237.99 | 7842.6 | 7554.29 | 7365.4 | 7237.68 | 7101.55 | 6976.13
180 | 26061.75 | 25870.27 | 25929.16 | 25979.631 | 26235.83 | 26375.01 | 26714.57 | 27067.881 | 27538.211 | 27994.77 | 28491.869 | 28971.369 | 29508.23 | 29999.971 | 30380.82 | 30773.141 | 31100.461 | 31325.301 | 31534.08 | 31579.199 | 31721.439 | 31816.27 | 31848.391 | 31752.801 | 31167.76 | 30572.01 | 30054.27 | 29496 | 29044.02 | 28716.711 | 28530.1 | 28495.689 | 28510.99 | 28684.59 | 28854.359 | 29080.73 | 29331.57 | 29486.051 | 29441.699 | 29521.23 | 29450.869 | 29592.35 | 29685.66 | 29742.25 | 29950.26 | 30006.09 | 30037.439 | 30032.09 | 30019.09 | 30090.98 | 29976.26 | 29452.4 | 29079.971 | 28772.529 | 28758.77 | 28693.76 | 28858.189 | 29005.779 | 29104.439 | 29198.5 | 29187.801 | 28451.33 | 27774.52 | 27082.42 | 26384.189 | 25637.789 | 24914.32 | 24122.801 | 23411.57 | 22686.58 | 21886.641 | 21516.5 | 21117.289 | 20731.859 | 20271.471 | 19969.391 | 19797.32 | 19573.25 | 19397.35 | 19262.75 | 19206.93 | 19099.859 | 19097.57 | 19060.859 | 18644.061 | 17953.49 | 17131.369 | 16424.73 | 16157.07 | 15607.2 | 15533.02
210 | 26061.75 | 26356.66 | 26376.539 | 26391.84 | 26536.381 | 26687.029 | 26898.109 | 27201.721 | 27532.09 | 27951.18 | 28403.92 | 28781.711 | 29203.859 | 29645.891 | 30141.449 | 30549.83 | 30857.27 | 31163.93 | 31449.189 | 31598.32 | 31686.27 | 31741.33 | 31776.51 | 31810.16 | 31837.689 | 31786.449 | 31564.67 | 31157.82 | 30673.721 | 30179.689 | 29539.59 | 28971.369 | 28587.461 | 28228.02 | 27994.01 | 27907.59 | 27750.811 | 27769.17 | 27759.99 | 27753.869 | 27676.631 | 27642.221 | 27540.51 | 27392.91 | 27139.01 | 27023.529 | 26896.58 | 26820.869 | 26732.16 | 26610.561 | 26509.609 | 26416.311 | 26267.949 | 26124.939 | 25971.99 | 25659.961 | 25220.99 | 24980.859 | 24778.961 | 24529.65 | 24327.75 | 24174.039 | 23965.26 | 23657.82 | 23343.51 | 22826.529 | 22344.73 | 21865.99 | 21342.9 | 20827.449 | 20338 | 19723.141 | 19304.811 | 18963.73 | 18642.529 | 18305.27 | 18140.85 | 17932.07 | 17860.18 | 17752.35 | 17620.82 | 17502.279 | 17346.27 | 17055.66 | 16863.699 | 16617.449 | 16148.65 | 15689.03 | 15435.13 | 15326.54 | 15281.42
240 | 26061.75 | 26612.85 | 26611.32 | 26632.74 | 26660.27 | 26694.68 | 26740.57 | 26748.221 | 26898.869 | 26913.4 | 27025.061 | 27142.07 | 27245.311 | 27399.029 | 27571.859 | 27759.23 | 27903 | 28013.891 | 28086.539 | 28152.311 | 28166.84 | 28209.67 | 28200.49 | 28110.25 | 28011.6 | 27886.939 | 27680.461 | 27469.381 | 27186.42 | 26884.34 | 26479.02 | 26084.4 | 25626.311 | 25172.811 | 24738.43 | 24341.52 | 23940.02 | 23521.699 | 23108.73 | 22667.461 | 22196.369 | 21814.75 | 21336.779 | 20903.16 | 20486.369 | 20069.57 | 19681.84 | 19275.75 | 18930.08 | 18602 | 18260.15 | 17932.84 | 17639.17 | 17356.211 | 17106.9 | 16871.35 | 16628.92 | 16449.971 | 16236.6 | 16050.76 | 15917.7 | 15787.69 | 15640.09 | 15484.08 | 15373.95 | 15213.35 | 15082.58 | 14895.21 | 14671.9 | 14415.71 | 14094.51 | 13816.14 | 13530.88 | 13214.27 | 12882.37 | 12500.75 | 12106.14 | 11661.05 | 11206.78 | 10677.57 | 10188.89 | 9743.03 | 9239.06 | 8722.84 | 8237.99 | 7842.6 | 7554.29 | 7365.4 | 7237.68 | 7101.55 | 6976.13
270 | 26061.75 | 25870.27 | 25929.16 | 25979.631 | 26235.83 | 26375.01 | 26714.57 | 27067.881 | 27538.211 | 27994.77 | 28491.869 | 28971.369 | 29508.23 | 29999.971 | 30380.82 | 30773.141 | 31100.461 | 31325.301 | 31534.08 | 31579.199 | 31721.439 | 31816.27 | 31848.391 | 31752.801 | 31167.76 | 30572.01 | 30054.27 | 29496 | 29044.02 | 28716.711 | 28530.1 | 28495.689 | 28510.99 | 28684.59 | 28854.359 | 29080.73 | 29331.57 | 29486.051 | 29441.699 | 29521.23 | 29450.869 | 29592.35 | 29685.66 | 29742.25 | 29950.26 | 30006.09 | 30037.439 | 30032.09 | 30019.09 | 30090.98 | 29976.26 | 29452.4 | 29079.971 | 28772.529 | 28758.77 | 28693.76 | 28858.189 | 29005.779 | 29104.439 | 29198.5 | 29187.801 | 28451.33 | 27774.52 | 27082.42 | 26384.189 | 25637.789 | 24914.32 | 24122.801 | 23411.57 | 22686.58 | 21886.641 | 21516.5 | 21117.289 | 20731.859 | 20271.471 | 19969.391 | 19797.32 | 19573.25 | 19397.35 | 19262.75 | 19206.93 | 19099.859 | 19097.57 | 19060.859 | 18644.061 | 17953.49 | 17131.369 | 16424.73 | 16157.07 | 15607.2 | 15533.02
300 | 26061.75 | 26356.66 | 26376.539 | 26391.84 | 26536.381 | 26687.029 | 26898.109 | 27201.721 | 27532.09 | 27951.18 | 28403.92 | 28781.711 | 29203.859 | 29645.891 | 30141.449 | 30549.83 | 30857.27 | 31163.93 | 31449.189 | 31598.32 | 31686.27 | 31741.33 | 31776.51 | 31810.16 | 31837.689 | 31786.449 | 31564.67 | 31157.82 | 30673.721 | 30179.689 | 29539.59 | 28971.369 | 28587.461 | 28228.02 | 27994.01 | 27907.59 | 27750.811 | 27769.17 | 27759.99 | 27753.869 | 27676.631 | 27642.221 | 27540.51 | 27392.91 | 27139.01 | 27023.529 | 26896.58 | 26820.869 | 26732.16 | 26610.561 | 26509.609 | 26416.311 | 26267.949 | 26124.939 | 25971.99 | 25659.961 | 25220.99 | 24980.859 | 24778.961 | 24529.65 | 24327.75 | 24174.039 | 23965.26 | 23657.82 | 23343.51 | 22826.529 | 22344.73 | 21865.99 | 21342.9 | 20827.449 | 20338 | 19723.141 | 19304.811 | 18963.73 | 18642.529 | 18305.27 | 18140.85 | 17932.07 | 17860.18 | 17752.35 | 17620.82 | 17502.279 | 17346.27 | 17055.66 | 16863.699 | 16617.449 | 16148.65 | 15689.03 | 15435.13 | 15326.54 | 15281.42
330 | 26061.75 | 26612.85 | 26611.32 | 26632.74 | 26660.27 | 26694.68 | 26740.57 | 26748.221 | 26898.869 | 26913.4 | 27025.061 | 27142.07 | 27245.311 | 27399.029 | 27571.859 | 27759.23 | 27903 | 28013.891 | 28086.539 | 28152.311 | 28166.84 | 28209.67 | 28200.49 | 28110.25 | 28011.6 | 27886.939 | 27680.461 | 27469.381 | 27186.42 | 26884.34 | 26479.02 | 26084.4 | 25626.311 | 25172.811 | 24738.43 | 24341.52 | 23940.02 | 23521.699 | 23108.73 | 22667.461 | 22196.369 | 21814.75 | 21336.779 | 20903.16 | 20486.369 | 20069.57 | 19681.84 | 19275.75 | 18930.08 | 18602 | 18260.15 | 17932.84 | 17639.17 | 17356.211 | 17106.9 | 16871.35 | 16628.92 | 16449.971 | 16236.6 | 16050.76 | 15917.7 | 15787.69 | 15640.09 | 15484.08 | 15373.95 | 15213.35 | 15082.58 | 14895.21 | 14671.9 | 14415.71 | 14094.51 | 13816.14 | 13530.88 | 13214.27 | 12882.37 | 12500.75 | 12106.14 | 11661.05 | 11206.78 | 10677.57 | 10188.89 | 9743.03 | 9239.06 | 8722.84 | 8237.99 | 7842.6 | 7554.29 | 7365.4 | 7237.68 | 7101.55 | 6976.13
360 | 26061.75 | 25870.27 | 25929.16 | 25979.631 | 26235.83 | 26375.01 | 26714.57 | 27067.881 | 27538.211 | 27994.77 | 28491.869 | 28971.369 | 29508.23 | 29999.971 | 30380.82 | 30773.141 | 31100.461 | 31325.301 | 31534.08 | 31579.199 | 31721.439 | 31816.27 | 31848.391 | 31752.801 | 31167.76 | 30572.01 | 30054.27 | 29496 | 29044.02 | 28716.711 | 28530.1 | 28495.689 | 28510.99 | 28684.59 | 28854.359 | 29080.73 | 29331.57 | 29486.051 | 29441.699 | 29521.23 | 29450.869 | 29592.35 | 29685.66 | 29742.25 | 29950.26 | 30006.09 | 30037.439 | 30032.09 | 30019.09 | 30090.98 | 29976.26 | 29452.4 | 29079.971 | 28772.529 | 28758.77 | 28693.76 | 28858.189 | 29005.779 | 29104.439 | 29198.5 | 29187.801 | 28451.33 | 27774.52 | 27082.42 | 26384.189 | 25637.789 | 24914.32 | 24122.801 | 23411.57 | 22686.58 | 21886.641 | 21516.5 | 21117.289 | 20731.859 | 20271.471 | 19969.391 | 19797.32 | 19573.25 | 19397.35 | 19262.75 | 19206.93 | 19099.859 | 19097.57 | 19060.859 | 18644.061 | 17953.49 | 17131.369 | 16424.73 | 16157.07 | 15607.2 | 15533.02