## GLH-HDE-8-HPS1000
IES file version | IESNA:LM-63-1995
[TEST]
[TESTLAB]
[ISSUEDATE] | 2015-06-03 12:45
[MANUFAC] | Barron Lighting Group
[LUMCAT] | GLH-HDE-8-HPS1000
[LUMINAIRE] | Formed aluminum housing | fine hammertone reflector
[LAMPCAT]
[LAMP] | Growlite brand HPS 1000W (Red Box) Lamp. LUMEN RATING = 118000 LMS.
[TESTINST] | GPM-1800B
[TESTDIST] | 6.605 m
[MORE] | 218.7 VOLTAGE
[MORE] | 4.795 A CURRENT
[MORE] | 1.000 POWER FACTOR
[MORE] | LUMENS 118745
TILT=NONE
numOfLamps | 1
lumensPerLamp | 118744.6
multiplier | 1
numberOfVerticalAngles | 91
numberOfHorizontalAngles | 13
photometricType | 1
unitsType | 2
width | 0
length | 0
height | 0
ballastFactor | 1
futureUse | 1
inputWatts | 1053
verticalAnglesArray | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90
horizontalAnglesArray | 0 | 30 | 60 | 90 | 120 | 150 | 180 | 210 | 240 | 270 | 300 | 330 | 360
candelaValuesTable | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90
0 | 26061.75 | 25870.27 | 25929.16 | 25979.631 | 26235.83 | 26375.01 | 26714.57 | 27067.881 | 27538.211 | 27994.77 | 28491.869 | 28971.369 | 29508.23 | 29999.971 | 30380.82 | 30773.141 | 31100.461 | 31325.301 | 31534.08 | 31579.199 | 31721.439 | 31816.27 | 31848.391 | 31752.801 | 31167.76 | 30572.01 | 30054.27 | 29496 | 29044.02 | 28716.711 | 28530.1 | 28495.689 | 28510.99 | 28684.59 | 28854.359 | 29080.73 | 29331.57 | 29486.051 | 29441.699 | 29521.23 | 29450.869 | 29592.35 | 29685.66 | 29742.25 | 29950.26 | 30006.09 | 30037.439 | 30032.09 | 30019.09 | 30090.98 | 29976.26 | 29452.4 | 29079.971 | 28772.529 | 28758.77 | 28693.76 | 28858.189 | 29005.779 | 29104.439 | 29198.5 | 29187.801 | 28451.33 | 27774.52 | 27082.42 | 26384.189 | 25637.789 | 24914.32 | 24122.801 | 23411.57 | 22686.58 | 21886.641 | 21516.5 | 21117.289 | 20731.859 | 20271.471 | 19969.391 | 19797.32 | 19573.25 | 19397.35 | 19262.75 | 19206.93 | 19099.859 | 19097.57 | 19060.859 | 18644.061 | 17953.49 | 17131.369 | 16424.73 | 16157.07 | 15607.2 | 15533.02
30 | 26061.75 | 26356.66 | 26376.539 | 26391.84 | 26536.381 | 26687.029 | 26898.109 | 27201.721 | 27532.09 | 27951.18 | 28403.92 | 28781.711 | 29203.859 | 29645.891 | 30141.449 | 30549.83 | 30857.27 | 31163.93 | 31449.189 | 31598.32 | 31686.27 | 31741.33 | 31776.51 | 31810.16 | 31837.689 | 31786.449 | 31564.67 | 31157.82 | 30673.721 | 30179.689 | 29539.59 | 28971.369 | 28587.461 | 28228.02 | 27994.01 | 27907.59 | 27750.811 | 27769.17 | 27759.99 | 27753.869 | 27676.631 | 27642.221 | 27540.51 | 27392.91 | 27139.01 | 27023.529 | 26896.58 | 26820.869 | 26732.16 | 26610.561 | 26509.609 | 26416.311 | 26267.949 | 26124.939 | 25971.99 | 25659.961 | 25220.99 | 24980.859 | 24778.961 | 24529.65 | 24327.75 | 24174.039 | 23965.26 | 23657.82 | 23343.51 | 22826.529 | 22344.73 | 21865.99 | 21342.9 | 20827.449 | 20338 | 19723.141 | 19304.811 | 18963.73 | 18642.529 | 18305.27 | 18140.85 | 17932.07 | 17860.18 | 17752.35 | 17620.82 | 17502.279 | 17346.27 | 17055.66 | 16863.699 | 16617.449 | 16148.65 | 15689.03 | 15435.13 | 15326.54 | 15281.42
60 | 26061.75 | 26612.85 | 26611.32 | 26632.74 | 26660.27 | 26694.68 | 26740.57 | 26748.221 | 26898.869 | 26913.4 | 27025.061 | 27142.07 | 27245.311 | 27399.029 | 27571.859 | 27759.23 | 27903 | 28013.891 | 28086.539 | 28152.311 | 28166.84 | 28209.67 | 28200.49 | 28110.25 | 28011.6 | 27886.939 | 27680.461 | 27469.381 | 27186.42 | 26884.34 | 26479.02 | 26084.4 | 25626.311 | 25172.811 | 24738.43 | 24341.52 | 23940.02 | 23521.699 | 23108.73 | 22667.461 | 22196.369 | 21814.75 | 21336.779 | 20903.16 | 20486.369 | 20069.57 | 19681.84 | 19275.75 | 18930.08 | 18602 | 18260.15 | 17932.84 | 17639.17 | 17356.211 | 17106.9 | 16871.35 | 16628.92 | 16449.971 | 16236.6 | 16050.76 | 15917.7 | 15787.69 | 15640.09 | 15484.08 | 15373.95 | 15213.35 | 15082.58 | 14895.21 | 14671.9 | 14415.71 | 14094.51 | 13816.14 | 13530.88 | 13214.27 | 12882.37 | 12500.75 | 12106.14 | 11661.05 | 11206.78 | 10677.57 | 10188.89 | 9743.03 | 9239.06 | 8722.84 | 8237.99 | 7842.6 | 7554.29 | 7365.4 | 7237.68 | 7101.55 | 6976.13
90 | 26061.75 | 26072.17 | 26051.52 | 25972.75 | 26073.699 | 25962.811 | 26001.051 | 25981.16 | 25921.51 | 25906.221 | 25811.391 | 25738.73 | 25717.32 | 25612.551 | 25538.369 | 25304.35 | 25120.039 | 24938.801 | 24727.721 | 24531.939 | 24275.75 | 23975.961 | 23698.359 | 23442.16 | 23078.141 | 22719.461 | 22406.68 | 22061.01 | 21721.449 | 21324.539 | 20935.279 | 20580.43 | 20238.59 | 19886.801 | 19485.301 | 19179.391 | 18748.83 | 18412.34 | 18107.971 | 17783.711 | 17443.391 | 17162.721 | 16821.641 | 16561.619 | 16290.13 | 16025.53 | 15763.98 | 15526.14 | 15225.59 | 14994.63 | 14764.44 | 14489.89 | 14237.52 | 13947.68 | 13675.42 | 13406.99 | 13090.38 | 12786.01 | 12412.81 | 12086.25 | 11701.58 | 11315.38 | 10859.58 | 10462.67 | 10009.93 | 9538.08 | 9066.22 | 8547.71 | 8065.91 | 7575.7 | 7026.61 | 6463.74 | 5935.3 | 5363.26 | 4817.98 | 4291.83 | 3785.56 | 3298.41 | 2867.08 | 2457.17 | 2102.32 | 1773.48 | 1468.34 | 1191.49 | 916.95 | 670.69 | 443.56 | 279.14 | 159.83 | 120.07 | 71.12
120 | 26061.75 | 25997.99 | 26030.109 | 26046.17 | 26061.461 | 26088.99 | 26075.23 | 26095.881 | 26119.58 | 26121.881 | 26180 | 26147.109 | 26168.529 | 26207.529 | 26189.939 | 26161.65 | 26105.051 | 26010.221 | 25998.75 | 25884.801 | 25759.381 | 25637.02 | 25552.9 | 25476.42 | 25328.061 | 25201.869 | 25029.801 | 24890.619 | 24763.67 | 24635.949 | 24476.119 | 24333.869 | 24154.92 | 24011.91 | 23816.891 | 23562.23 | 23285.391 | 23046.02 | 22717.17 | 22341.67 | 22058.711 | 21702.33 | 21344.43 | 20846.57 | 20423.66 | 19892.15 | 19478.42 | 19086.859 | 18677.711 | 18327.449 | 18036.08 | 17742.41 | 17480.859 | 17186.43 | 17070.189 | 16812.461 | 16678.631 | 16558.561 | 16446.15 | 16358.2 | 16257.25 | 16225.89 | 16222.84 | 16164.71 | 16149.42 | 16093.59 | 15994.17 | 15869.52 | 15754.8 | 15464.19 | 15166.7 | 14827.15 | 14438.65 | 14105.98 | 13603.54 | 13115.62 | 12630.76 | 12087.02 | 11510.39 | 10973.53 | 10518.5 | 10102.47 | 9619.14 | 9150.34 | 8672.37 | 8272.4 | 7988.67 | 7792.9 | 7672.83 | 7496.93 | 7357.75
150 | 26061.75 | 25692.08 | 25718.09 | 25802.971 | 25845.801 | 25891.689 | 25988.811 | 26049.23 | 26113.471 | 26210.59 | 26324.539 | 26397.189 | 26433.131 | 26548.609 | 26677.859 | 26802.51 | 26970 | 27126.77 | 27392.91 | 27678.16 | 27976.42 | 28317.5 | 28749.59 | 29089.141 | 29571.711 | 29907.439 | 30259.99 | 30357.881 | 30237.051 | 29982.381 | 29624.471 | 29030.26 | 28396.27 | 27825.76 | 27337.08 | 26871.34 | 26386.48 | 25905.449 | 25507.779 | 25170.52 | 24934.211 | 24787.369 | 24735.369 | 24609.18 | 24532.711 | 24510.529 | 24633.66 | 24658.891 | 24682.6 | 24706.311 | 24642.07 | 24661.189 | 24684.9 | 24709.369 | 24764.43 | 24490.65 | 24205.391 | 23895.66 | 23727.42 | 23501.051 | 23430.689 | 23452.1 | 23338.15 | 23184.439 | 22839.529 | 22284.32 | 21733.689 | 21270.25 | 20764.74 | 20237.061 | 19778.199 | 19301.76 | 18913.26 | 18512.52 | 18322.859 | 18197.439 | 18088.08 | 17935.131 | 17714.119 | 17454.1 | 17236.141 | 16889.711 | 16674.811 | 16384.961 | 16278.66 | 16061.47 | 15848.1 | 15512.37 | 15344.89 | 15130.76 | 15145.29
180 | 26061.75 | 25906.221 | 25939.1 | 25956.689 | 25988.811 | 26105.82 | 26138.699 | 26213.65 | 26365.07 | 26349.779 | 26513.43 | 26553.199 | 26604.439 | 26807.869 | 26946.289 | 27084.711 | 27421.199 | 27733.23 | 28074.311 | 28455.92 | 28937.721 | 29395.051 | 29882.961 | 30389.23 | 30628.6 | 30650.779 | 30534.539 | 30088.68 | 29678.77 | 29076.141 | 28633.35 | 28192.08 | 27706.461 | 27120.65 | 26644.971 | 26275.59 | 26036.99 | 25984.99 | 25862.619 | 25743.32 | 25628.609 | 25858.801 | 26087.461 | 26340.6 | 26623.561 | 26957.76 | 27239.189 | 27560.391 | 27896.119 | 28139.311 | 28297.619 | 27978.711 | 27465.561 | 26908.811 | 26641.15 | 26400.25 | 26548.609 | 26962.35 | 27415.85 | 27777.58 | 28169.9 | 28004.711 | 27377.609 | 26800.98 | 26274.061 | 25569.721 | 24967.859 | 24372.869 | 23762.6 | 23235.68 | 22616.221 | 22163.48 | 22020.471 | 21879.76 | 21706.92 | 21382.67 | 21062.23 | 20727.27 | 20412.949 | 20091.75 | 19674.961 | 19365.23 | 19027.211 | 18855.9 | 18536.23 | 18165.32 | 17512.221 | 16700.811 | 16204.48 | 15640.85 | 15668.39
210 | 26061.75 | 26323.77 | 26410.961 | 26344.42 | 26403.311 | 26456.08 | 26483.609 | 26544.02 | 26591.439 | 26587.619 | 26642.68 | 26707.68 | 26761.98 | 26769.631 | 26817.039 | 26947.82 | 27007.471 | 27177.25 | 27381.439 | 27605.51 | 27883.881 | 28174.49 | 28540.051 | 28920.131 | 29328.51 | 29738.42 | 30176.631 | 30384.65 | 30367.82 | 30234.75 | 29834.02 | 29385.869 | 28793.949 | 28244.85 | 27742.4 | 27229.25 | 26656.439 | 25971.99 | 25487.891 | 25113.16 | 24887.561 | 24762.9 | 24486.061 | 24354.52 | 24155.68 | 24239.039 | 24398.881 | 24509 | 24612.24 | 24711.66 | 24756.779 | 24835.551 | 24779.73 | 24726.961 | 24613.77 | 24191.631 | 23569.109 | 23195.141 | 22846.41 | 22590.98 | 22666.699 | 22581.811 | 22532.859 | 22480.09 | 22199.43 | 21695.449 | 21182.301 | 20530.721 | 19994.631 | 19407.289 | 18871.961 | 18253.27 | 17797.471 | 17382.98 | 17204.789 | 17018.949 | 16918 | 16847.641 | 16784.93 | 16654.16 | 16532.561 | 16356.67 | 16052.29 | 15845.81 | 15711.21 | 15611.03 | 15165.17 | 14482.24 | 14269.64 | 14117.45 | 14274.99
240 | 26061.75 | 26615.91 | 26608.26 | 26605.211 | 26628.15 | 26605.971 | 26597.561 | 26573.85 | 26555.5 | 26553.199 | 26553.199 | 26509.609 | 26482.08 | 26467.551 | 26401.779 | 26337.539 | 26267.949 | 26176.18 | 26045.4 | 25953.631 | 25775.439 | 25576.6 | 25366.301 | 25202.641 | 24992.33 | 24805.73 | 24591.59 | 24370.58 | 24170.211 | 23928.551 | 23695.301 | 23475.051 | 23234.15 | 23003.949 | 22789.061 | 22551.98 | 22314.91 | 22088.539 | 21850.699 | 21615.15 | 21367.369 | 21070.641 | 20736.439 | 20351.77 | 19934.211 | 19463.881 | 19005.029 | 18547.699 | 18103.381 | 17675.881 | 17293.5 | 16945.529 | 16633.51 | 16322.25 | 16067.59 | 15818.28 | 15571.26 | 15363.25 | 15163.64 | 14952.57 | 14745.32 | 14541.89 | 14349.94 | 14114.39 | 13878.08 | 13639.48 | 13415.4 | 13198.98 | 12927.49 | 12638.41 | 12379.92 | 12063.31 | 11757.41 | 11421.68 | 11054.59 | 10720.39 | 10295.19 | 9806.51 | 9300.24 | 8834.5 | 8488.83 | 8151.57 | 7829.6 | 7531.35 | 7213.21 | 6988.37 | 6810.94 | 6704.64 | 6622.05 | 6527.22 | 6427.8
270 | 26061.75 | 26023.221 | 26031.641 | 26014.051 | 25975.811 | 25965.1 | 26016.34 | 25936.811 | 25877.92 | 25879.449 | 25824.391 | 25756.32 | 25662.26 | 25620.961 | 25510.84 | 25385.41 | 25263.82 | 25079.51 | 24882.199 | 24577.83 | 24404.23 | 24075.381 | 23868.131 | 23493.4 | 23211.971 | 22786.76 | 22467.09 | 22132.131 | 21675.57 | 21360.49 | 21000.289 | 20607.199 | 20141.461 | 19834.029 | 19377.471 | 19022.619 | 18647.891 | 18261.68 | 17895.359 | 17620.82 | 17181.08 | 16859.881 | 16617.449 | 16247.31 | 16020.17 | 15699.74 | 15432.84 | 15183.53 | 14925.8 | 14713.2 | 14450.89 | 14193.16 | 13939.26 | 13681.54 | 13376.4 | 13107.97 | 12741.65 | 12400.57 | 12079.37 | 11622.81 | 11222.84 | 10765.51 | 10266.89 | 9749.91 | 9201.58 | 8647.13 | 8132.45 | 7569.59 | 7015.9 | 6436.21 | 5882.53 | 5331.14 | 4798.1 | 4231.41 | 3735.08 | 3273.17 | 2846.43 | 2470.17 | 2064.08 | 1654.94 | 1303.15 | 972.77 | 650.81 | 422.91 | 264.61 | 165.95 | 86.42 | 55.06 | 44.36 | 41.3 | 42.06
300 | 26061.75 | 25934.51 | 25858.039 | 25837.391 | 25869.51 | 25858.801 | 25857.27 | 25877.92 | 25992.631 | 26008.689 | 26099.699 | 26180.76 | 26219.77 | 26431.609 | 26516.49 | 26581.5 | 26720.68 | 26896.58 | 26872.109 | 26867.52 | 26966.17 | 26977.641 | 26947.051 | 26865.99 | 26795.631 | 26655.68 | 26417.84 | 26209.061 | 26000.279 | 25618.67 | 25271.471 | 25012.211 | 24685.66 | 24210.74 | 23816.131 | 23513.279 | 22966.48 | 22570.34 | 22085.48 | 21670.98 | 21170.061 | 20731.09 | 20175.109 | 19629.07 | 19144.221 | 18625.711 | 18176.801 | 17779.891 | 17391.391 | 17072.48 | 16765.811 | 16521.859 | 16240.43 | 16019.41 | 15828.98 | 15621.73 | 15496.31 | 15344.89 | 15212.59 | 15118.52 | 14972.45 | 14874.57 | 14789.68 | 14642.08 | 14537.31 | 14370.59 | 14069.27 | 13859.73 | 13511.76 | 13159.21 | 12796.71 | 12432.69 | 12034.25 | 11604.46 | 11182.31 | 10731.1 | 10239.36 | 9798.86 | 9333.12 | 8943.86 | 8624.95 | 8227.28 | 7846.43 | 7512.99 | 7141.32 | 6888.95 | 6713.06 | 6592.99 | 6488.98 | 6365.86 | 6350.56
330 | 26061.75 | 25578.131 | 25570.49 | 25577.369 | 25652.32 | 25822.859 | 25949.039 | 26205.24 | 26495.85 | 26851.461 | 27223.131 | 27585.631 | 27932.061 | 28350.391 | 28730.471 | 29151.09 | 29515.109 | 29755.25 | 30025.971 | 30227.1 | 30406.061 | 30529.18 | 30570.48 | 30669.9 | 30780.789 | 30757.85 | 30612.539 | 30308.17 | 29613 | 29057.789 | 28512.51 | 27930.529 | 27503.801 | 27070.939 | 26803.279 | 26654.15 | 26592.971 | 26583.029 | 26579.971 | 26663.33 | 26634.27 | 26610.561 | 26491.26 | 26355.891 | 26084.4 | 26001.051 | 25965.1 | 25989.57 | 25967.4 | 25916.16 | 25850.391 | 25723.439 | 25567.43 | 25534.539 | 25310.471 | 24795.02 | 24468.471 | 24088.381 | 23820.721 | 23615 | 23467.4 | 23297.619 | 23037.6 | 22790.59 | 22385.26 | 21820.869 | 21278.66 | 20705.85 | 20136.109 | 19479.939 | 18959.91 | 18414.641 | 17863.24 | 17551.221 | 17266.73 | 16994.48 | 16768.869 | 16579.98 | 16423.199 | 16260.31 | 16096.65 | 15923.05 | 15838.16 | 15792.28 | 15803.75 | 15572.79 | 15151.41 | 14580.13 | 14398.12 | 14350.71 | 14567.9
360 | 26061.75 | 25870.27 | 25929.16 | 25979.631 | 26235.83 | 26375.01 | 26714.57 | 27067.881 | 27538.211 | 27994.77 | 28491.869 | 28971.369 | 29508.23 | 29999.971 | 30380.82 | 30773.141 | 31100.461 | 31325.301 | 31534.08 | 31579.199 | 31721.439 | 31816.27 | 31848.391 | 31752.801 | 31167.76 | 30572.01 | 30054.27 | 29496 | 29044.02 | 28716.711 | 28530.1 | 28495.689 | 28510.99 | 28684.59 | 28854.359 | 29080.73 | 29331.57 | 29486.051 | 29441.699 | 29521.23 | 29450.869 | 29592.35 | 29685.66 | 29742.25 | 29950.26 | 30006.09 | 30037.439 | 30032.09 | 30019.09 | 30090.98 | 29976.26 | 29452.4 | 29079.971 | 28772.529 | 28758.77 | 28693.76 | 28858.189 | 29005.779 | 29104.439 | 29198.5 | 29187.801 | 28451.33 | 27774.52 | 27082.42 | 26384.189 | 25637.789 | 24914.32 | 24122.801 | 23411.57 | 22686.58 | 21886.641 | 21516.5 | 21117.289 | 20731.859 | 20271.471 | 19969.391 | 19797.32 | 19573.25 | 19397.35 | 19262.75 | 19206.93 | 19099.859 | 19097.57 | 19060.859 | 18644.061 | 17953.49 | 17131.369 | 16424.73 | 16157.07 | 15607.2 | 15533.02